Via flow instructions, realize the cargo controlled
Summary
XC Series PLC’s offer 4 (four) instructions: STL, STLE, SET, ST. STL, STLE should be used in pairs. STL indicates the start of a flow, while STLE indicates the end of a flow. Executing SET Sxxx, Sxxx flow will be open, while the current flow will be closed. But, when executing ST Sxxx, flow Sxxx will be open but the current flow is not closed.
This example shows an automatic control flow of a cargo. The program executes the events step by step sequentially. Each step includes a series of actions. Also, only the conditions fulfill the requirements, the program can be executed. 

Graph:

[image: image1.png]go ahead Q g0 back

5Q0 5Q1





 Flow Chart:




Program Description:
After pressing the start button X0, the cargo will go back. When reaches back limitation switch X4, the cargo will stop and delay 5 seconds. When delay time reaches, the cargo will go forth. When reaches the forth limitation switch X3, the cargo will stop to remove the materials. After 8 seconds delay, the cargo will go back again. Unless you press down the stop button, the cargo will keep working in this loop

Program:


[image: image2.png]0% start X1 stopCnornally closed) X3

ack Lini tation orth T4Dback 153 Unload

Forth Linitation %41

™ 50





Stop button X1





Stop button X1





Back limitation switch X4





Start button X0





Cargo back S0





Main flow





Stop button X1





Forth limitation switch X3





T0 time reach





Remove the Materials /time-delay S3





Cargo Forth S2





Empty flow S10 





Time delay S1





T1 time delay








_1262858073

